**Zestaw elementów optomechanicznych**

|  |  |  |
| --- | --- | --- |
| **Lp.** | **Przedmiot zamówienia** | **Liczba** |
| 1. | P3-405B-FC-2 - Single Mode Patch Cable, 405 - 532 nm, FC / APC, 2m Long, Fiber type: P3-405B-FC-2  https://www.thorlabs.de/thorproduct.cfm?partnumber=P3-405B-FC-2 | 1 |
| 2. | P3-460B-FC-2 - Single Mode Patch Cable, 488 - 633 nm, FC/APC, 2m Long, Fiber type: P3-460B-FC-2  https://www.thorlabs.de/thorproduct.cfm?partnumber=P3-460B-FC-2 | 1 |
| 3. | Aluminium Breadboard, 300 mm x 600 mm x 12.7 mm, M6 Taps, code: MB3060/M  https://www.thorlabs.com/thorproduct.cfm?partnumber=MB3060/M | 1 |
| 4. | FC/APC Fiber Adapter Plate, code: SM1FCA  https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1FCA | 3 |
| 5. | SM1 Lens Tube, 1'' Thread Depth, One Retaining Ring included, code: SM1L10  https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1L10 | 5 |
| 6. | AC254-100-C-ML- f=100 mm, D=1'' Achromatic Doublet, SM1-Threaded Mount, ARC: 1050-1700 nm, code: AC254-100-C-ML  https://www.thorlabs.de/thorproduct.cfm?partnumber=AC254-100-C-ML | 2 |
| 7. | AC254-050-C-ML- f=50 mm, D=1'' Achromatic Doublet, SM1-Threaded Mount, ARC: 1050-1700 nm, code: AC254-050-C-ML  https://www.thorlabs.de/thorproduct.cfm?partnumber=AC254-050-C-ML | 2 |
| 8 | AC254-150-C-ML- f=150mm, D=1'' Achromatic Doublet, SM1-Threaded Mount, ARC: 1050-1700 nm, code: AC254-150-C-ML  https://www.thorlabs.de/thorproduct.cfm?partnumber=AC254-150-C-ML | 2 |
| 9. | AC254-050-B-ML- f=50mm, D=1'' Achromatic Doublet, SM1-threaded Mount, ARC: 650-1050 nm, code: AC254-050-B-ML  https://www.thorlabs.de/thorproduct.cfm?partnumber=AC254-050-B-ML | 2 |
| 10. | AC254-100-B-ML- f=100mm, D=1'' Achromatic Doublet, SM1-threaded Mount, ARC: 650-1050 nm, code: AC254-100-B-ML  https://www.thorlabs.de/thorproduct.cfm?partnumber=AC254-100-B-ML | 2 |
| 11. | AC254-150-B-ML- f=150mm, D=1'' Achromatic Doublet, SM1-threaded Mount, ARC: 650-1050 nm, code: AC254-150-B-ML  https://www.thorlabs.de/thorproduct.cfm?partnumber=AC254-150-B-ML | 2 |
| 12. | AC254-200-B-ML- f=200mm, D=1'' Achromatic Doublet, SM1-threaded Mount, ARC: 650-1050 nm, code: AC254-200-B-ML  https://www.thorlabs.de/thorproduct.cfm?partnumber=AC254-200-B-ML | 2 |
| 13. | LMR05 or SM05 Adapter for D=8.0mm Optics, code: LMRA8  https://www.thorlabs.de/thorproduct.cfm?partnumber=LMRA8 | 1 |
| 14. | FC/APC Fiber Adapter Plate with External SM05 (0.535''-40) Thread, code: SM05FCA  https://www.thorlabs.de/thorproduct.cfm?partnumber=SM05FCA | 3 |
| 15. | SM05 Lens Tube, 1'' Thread Depth, One Retaining Ring Included, code: SM05L10  https://www.thorlabs.de/thorproduct.cfm?partnumber=SM05L10 | 3 |
| 16. | AC080-020-B, D=8.0mm, f=20.0mm, Near IR Achromat, ARC: 650 - 1050 nm, code: AC080-020-B  https://www.thorlabs.de/thorproduct.cfm?partnumber=AC080-020-B | 2 |
| 17. | Short Clamping Fork, 1.24'' Counterbored Slot, Universal, code: CF125  https://www.thorlabs.de/thorproduct.cfm?partnumber=CF125-P5 | 1 |
| 18. | D=12.7mm Optical Post, SS, M4 Setscrew, M6 Tap, L=50 mm, code: TR50/MP-5  https://www.thorlabs.de/thorproduct.cfm?partnumber=TR50/M-P5 | 1 |
| 19. | Adapter with External SM05 Threads and Internal SM1 Threads, code: SM1A1  https://www.thorlabs.de/thorproduct.cfm?partnumber=SM1A1 | 3 |
| 20. | LMR05 or SM05 Adapter for Ø6 mm Optics, code: LMRA6  https://www.thorlabs.de/thorproduct.cfm?partnumber=LMRA6#ad-image-0 | 1 |
| 21. | Fiber-Coupled Balanced Amp. Photodetector, 400 MHz, InGaAs, code: PDB471-C  https://www.thorlabs.de/thorproduct.cfm?partnumber=PDB471C | 1 |
| 22. | Box with 10 Absorptive Ø25 mm ND Filters, SM1-Mounted, code: NEK01  https://www.thorlabs.de/thorproduct.cfm?partnumber=NEK01 | 1 |
| 23. | APD430A2 - Si Variable-Gain Avalanche Detector, Temperature Compensated, UV Enhanced, 200 - 1000 nm, DC - 400 MHz, 8-32 Taps, code: APD430A2  https://www.thorlabs.de/thorproduct.cfm?partnumber=APD430A2 | 1 |

*Kierownik*

*Działu Aparatury Naukowej*

*mgr Ryszard Lew*

**(-) mgr Justyna Morzy**

KANCLERZ

UNIWERSYTETU MIKOŁAJA KOPERNIKA

W TORUNIU